## Blatt1
Siemens Preisliste 2024 | gültig ab 01.04.2024
Market Facing Nr. | Description DE | Description FR | Description IT | Sales Price Installer | E-Nummer | Materialgruppe
10-PCII-A 24 | 10.1" PriCtr-II 4GB 64GB Android 24VDC sw | 10.1" PriCtr-II 4GB 64GB Android 24VDC noir | 10.1" PriCtr-II 4GB 64GB Android 24VDC nero | 1972 | 0 | LA9
10-PCII-W 24 | 10.1" PriCtr-II 4GB 64GB Win10IoT 24VDC sw | 10.1" PriCtr-II 4GB 64GB Win10IoT 24VDC noir | 10.1" PriCtr-II 4GB 64GB Win10IoT 24VDC nero | 2080 | 0 | LA9
15-PCII-A 24 | 15.6" PriCtr-II 4GB 64GB Android 24VDC sw | 15.6" PriCtr-II 4GB 64GB Android 24VDC noir | 15.6" PriCtr-II 4GB 64GB Android 24VDC nero | 2548 | 0 | LA9
15-PCII-W 24 | 15.6" PriCtr-II 4GB 64GB Win10IoT 24VDC sw | 15.6" PriCtr-II 4GB 64GB Win10IoT 24VDC noir | 15.6" PriCtr-II 4GB 64GB Win10IoT 24VDC nero | 2656 | 0 | LA9
4AC2402 | Elektronisches Netzgerät DC 24V | Alimentation electronique DC 24V | Alimentato electr. DC 24V | 136 | 0 | LB1
5TG2551-0 | Rahmen Delta line, 1fach, titanweiss | Cadre Delta line blanc titane | Cornice Delta Line bianco titagno | 2 | 0 | LB1
5WG1117-2AB12 | Busankoppler (BTM) UP 117/12 | Module de bus trans. plus UP 117/12 | BTM UP117/12 | 53.3 | 305673004 | LB1
5WG1117-2AB12/AR52 | B-koppl.(BTM)117/12,60x60ADAPT, AR52 | Mod.deBus trans.UP117/12,60x60ADAPT,AR52 | BTM UP117/12 (BTM), 60x60ADAPT ,AR52 | 58.2 | 305675104 | LB1
5WG1118-4AB01 | Automationsmodulbox AP 118 f. RS/RL mod | Box de module de gestion de sect. AP 118 | Box modulo AP 118, | 55.6 | 205951104 | LB1
5WG1120-1AB02 | Drossel N 120/02 | Self de filtrage N 120/02 640 mA | Bobina N 120/02 640mA | 86.7 | 405810004 | LB1
5WG1125-1AB02 | Spannungsversorgung N 125/02 160mA | Alimentation N 125/02 160mA | Alimentatore N 125/01 160mA | 149 | 405800104 | LB1
5WG1125-1AB12 | Spannungsversorgung N 125/12 320mA | Alimentation N 125/12 320mA | Alimentatore N 125/11 320mA | 208 | 405800114 | LB1
5WG1125-1AB22 | Spannungsversorgung N1 252 640mA | Alimentation N 1252 640mA | Alimentatore N 1252 640mA | 283 | 405800124 | LB1
5WG1125-4AB23 | Spannungsversorgung RL1253, 80mA | Alimentation RL1253, 80mA | Alimentatore RL1253, 80mA | 129 | 405800304 | LB1
5WG1140-1AB13 | Linien-/Bereichskoppler N 140/13 | Coupler de ligne/zone N 140/13 2M. | Accoppiatore Linea/Campo N 140/13 | 446 | 405820014 | LB1
5WG1141-1AB03 | DALI-2 Gateway plus, N141/03 | Interface DALI plus N141/03, 4Mod. | Interfaccia EIB-DALI plus N141/03 | 727 | 405671024 | LB1
5WG1141-1AB21 | DALI-2 Gateway Twin plus, N141/21 | Interface DALI Twin plus N141/21, 4Mod | Interfaccia EIB-DALI Twin plus N141/21 | 1144 | 405701404 | LB1
5WG1141-1AB31 | DALI-2 Gateway Twin, N141/31 | Interface DALI Twin N141/31, 4Modules | Interfaccia EIB-DALI Twin N141/31 | 784 | 405701204 | LB1
5WG1141-2AB71 | DALI-Tastereingang 4fach | Interface Poussoirs DALI 4E | Interface. Puls. DALI 4CH | 110 | 405600244 | LB1
5WG1143-1AB01 | IP Gateway KNX/BACnet N143/01 | Interface gateway entre KNX TP/BACnet/IP | Interfaccia Gateway KNX/BACnet N143 | 866 | 405830504 | LB1
5WG1146-1AB03 | IP Router Secure N146/03 | Routeur IP Secure N146/03 coupler de lig | Router IP Secure EB-KNX N146/03 | 655 | 405420034 | LB1
5WG1148-1AB12 | USB Schnittstelle N148/12 | Interface USB N148/12 | Interfaccia USB N148/12 | 297 | 405830304 | LB1
5WG1148-1AB23 | IP Schnittstelle Secure N148/23 | Interface IP Secure N148/23 | Interfaccia IP Secure EB-KNX N148/23 | 339 | 405420104 | LB1
5WG1152-1AB01 | IP Control Center N152/01 | IP Control Center N152 avec serveur WEB | IP Control Center N152/01 WEB Server | netto 950.00 CHF | 405831504 | LB1
5WG1190-8AD01 | Überspannungsschutz 190 | Protection contre les sur tensions | Protezione da sovratensione dehn | 95.1 | 405920004 | LB1
5WG1193-8AB01 | Busklemme 193 | Borne de bus193 2polaire, 4connexions | MORSETTI BUS 2 Poli 4 collegamenti | 1.9 | 157890614 | LB1
5WG1205-2AB12 | Raumbediengerät TC5, KNX,Display,Temp,ws | Appareil d'amb.KNX,TouchControlTC5,°C,bl | Un.di coma.amb,KNX,TouchControlTC5,°C,bi | 545 | 305571314 | LB1
5WG1205-2AB21 | Raumbediengerät TC5, KNX,Display,Temp,sw | Appareil d'amb.,KNX,TouchControl TC5, °C | Unità di coma.amb,KNX,TouchControlTC5,°C | 547 | 305571204 | LB1
5WG1205-2AB22 | Raumbediengerät TC5, KNX,Display,Temp,sw | Appareil d'amb.KNX,TouchControlTC5,°C,nr | Un.di coma.amb,KNX,TouchControlTC5,°C,ne | 545 | 305571304 | LB1
5WG1220-2AB21 | Tasterschnittstelle UP 2201 2X In/Out | Interface Poussoirs UP 2201 2 E/S | Interfacepuls UP 2201, 2x IN /OUT I/O | 71.5 | 305835004 | LB1
5WG1220-2DB31 | Tasterschnittstelle UP 220/31 4X In/Out | InterfacePoussoirs UP 220/31 4 E/S | Interfacepuls UP220/31, 4x IN/OUT-LED | 124 | 305836004 | LB1
5WG1221-2DB12 | Taster 1-fach UP221 TW, | Poussoir 2f UP 221 i-system, bla TIT | Puls. BTM UP221 1-CH I-SYS BT,bianco | 84 | 0 | LB1
5WG1221-2DB13 | Taster 1-fach UP221/3 mit LED, TW | Poussoir 1f+LED UP 221/3 i-sys, bla TIT | Puls. BTM UP221/3 1-CH+LED I-S BT,bianco | 97.6 | 0 | LB1
5WG1221-2DB32 | Taster 1-fach UP221 ALU | Poussoir 2f UP 221 i-system, alu | Puls. BTM UP221 1-CH I-SYS BT, alum | 90.7 | 0 | LB1
5WG1221-2DB33 | Taster 1-fach UP221/3 mit LED, ALU | Poussoir 1f+LED UP 221/3 i-system, alu | Puls. BTM UP221 1-CH+LED I-S BT, alum | 104 | 0 | LB1
5WG1222-2DB12 | Taster 2-fach UP222 TW | Poussoir 2f UP 222 i-system ,bla TIT | Puls. BTM UP222 2-CH I-SYS BT,bianco | 104 | 0 | LB1
5WG1222-2DB13 | Taster 2-fach UP222/3 mit LED, TW | Poussoir 2f+LED UP 222/3 i-sys, bla TIT | Puls. BTM UP222/3 2-CH+LED I-S BT,bianco | 111 | 0 | LB1
5WG1222-2DB32 | Taster 2-fach UP222 ALU | Poussoir 2f UP 222 i-system, alu | Puls. BTM UP222 2-CH I-SYS BT, alum | 112 | 0 | LB1
5WG1222-2DB33 | Taster 2-fach UP222/3 mit LED, ALU | Poussoir 2f+LED UP 222/3 i-system, alu | Puls. BTM UP222 2-CH+LED I-S BT, alum | 120 | 0 | LB1
5WG1223-2DB12 | Taster 3-fach UP223 TW | Poussoir 2f UP 222 i-system ,bla TIT | Puls. BTM UP223 3-CH I-SYS BT,bianco | 111 | 0 | LB1
5WG1223-2DB13 | Taster 3-fach UP223/3 mit LED, TW | Poussoir 2f+LED UP 222/3 i-sys, bla TIT | Puls. BTM UP223/3 3-CH+LED I-S BT,bianco | 132 | 0 | LB1
5WG1223-2DB32 | Taster 3-fach UP223 ALU | Poussoir 2f UP 221 i-system, alu | Puls. BTM UP223 3-CH I-SYS BT, alum | 120 | 0 | LB1
5WG1223-2DB33 | Taster 3-fach UP223/3 mit LED, ALU | Poussoir 2f+LED UP 222/3 i-system, alu | Puls. BTM UP223 3-CH+LED I-S BT, alum | 139 | 0 | LB1
5WG1227-2AB11 | Raumbediengerät UP227 | Contrôleur d'ambiance UP 227 | Regolatore ambiente UP 227 | 347 | 305423104 | LB1
5WG1227-2AB11/CH | RaumbediengerätUP227,60x60adapt+m.Platte | Contr. d'ambiance UP 227,BTM,60x60 adapt | Regolat. ambiente UP 227, BTM,60x60adapt | 323 | 305423004 | LB1
5WG1237-2KB11 | Raumtemperaturregler 237K | Thermostat d'ambiance 237K | Regolatore ambiente elettronico 237K | 204 | 305419304 | LB1
5WG1237-2KB11/CH | Raumtemp.regler 237K, BTM,60x60 adapt | Thermo d'ambiance 237K, BTM, 60x60 adapt | Regol. ambiente elec.237K,BTM,60x60adapt | 237 | 0 | LB1
5WG1251-2AB11 | Bewegungsmelder WALL, UP 251/11, ws | Détecteur de mouvements WALL, UP 251/11 | Rivelatore di movimento WALL, UP251/11 | 199 | 305400014 | LB1
5WG1254-3EY02 | Kombisensor AP 254/02 | Capteur combiAP 254/02 | Sensore combinato AP254 | 395 | 405464114 | LB1
5WG1255-2DB21 | Helligkeitsmelder UP 255D21, ws | Sonde de luminosite a enc. UP255D21 | Sonda di Luminosita UP255D21 KNX | 157 | 305440014 | LB1
5WG1255-7AB11 | IR-Fernbedienung S 255/11 | Remote contr. S 255/11 | Telecomand IR S255/11x Sens.UP258E/x1 | 64.7 | 535990017 | LB1
5WG1257-3AB22 | Wetterzentrale AP 257/22,(GPS) 8 Fassaden | Station METEO AP 257/22 (GPS) 8 facades | Centr. Meteo comp.AP257/22 con ric. GPS | 1905 | 205550114 | LB1
5WG1257-3AB51 | Wetterstation AP 257/51, 3 Fassaden | Station METEO AP 257/51 3 facades | C.Meteo comp.mini AP257/51 3 fac. | 480 | 205550214 | LB1
5WG1257-3AB61 | Wetterzentrale AP 257/61, (GPS) 8Fassaden | Station METEO AP 257/61 (GPS) 8 facades | C.Meteo comp.AP257/61 con ric. GPS 8 fac | 1180 | 205550224 | LB1
5WG1258-2DB12 | Präs.meld UP 258D12 Desk, ws | Dedect. de pres. 258D12 blanc | Sens. pres. UP258D12 Desk | 160 | 535935208 | LB1
5WG1258-2DB31 | Präsenzmelder WIDE, Temp. | Dedect. de presence. WIDE | Sensore di presenza WIDE | 232 | 535935008 | LB1
5WG1258-2DB41 | Präsenzmelder WIDE pro, Temp, Feuchte | Dedect. de presence. WIDE pro | Sensore di presenza WIDE pro | 378 | 535935018 | LB1
5WG1258-2DB51 | Präsenzmelder WIDE multi, Temp, Feuchte, CO2 | Dedect. de presence. WIDE multi | Sensore di presenza WIDE multi | 530 | 535935028 | LB1
5WG1258-2DB61 | Präsenzm. WIDE DualTech,Ultraschall,Temp | Dedect. de presence. WIDE DUAL TECH | Sensore di presenza WIDE DUAL TECH | 256 | 535985008 | LB1
5WG1258-2EB22 | Präs.meld UP 258E22 Desk m.KS, ws | Dedect. de pres. 258E22 blanc | Sens. pres. UP258E22 Desk | 197 | 535935200 | LB1
5WG1258-7EB01 | Gehäuse AP 258E01 für Präs.meld | Boite apparent AP258E01 blanc | Custodia x mont.sporg.AP258E X UP258E/x1 | 30.6 | 535991008 | LB1
5WG1258-7EB11 | Aufputzgehäuse zu Präsenzmelder WIDE | Boite apparent Dedect. de presence. WIDE | Custodia x mont.sporg.Sens.pres.WIDE | 32.9 | 535996008 | LB1
5WG1260-4AB23 | Binäreingang RL 2603, 4fach, 12…230V | Entrée binaire RL 2603 4fois, | Ing.bin. RL 2603 4-, | 205 | 405620044 | LB1
5WG1262-1DB31 | Binäreingabegerät N 262D31, 4 x pot.frei | Entree binaire N 262D31, 4x contacts | Ing.bin. N 262D31,4-CH ing. potenzLibero | 247 | 405590214 | LB1
5WG1262-1DB51 | Binäreingabegerät N 262D51, 8 x pot.frei | Entree binaire N 262D51, 8x contacts | Ing.bin. N 262D31,8-CH ing. potenzLibero | 400 | 405590224 | LB1
5WG1262-1EB01 | Binäreingabegerät N 262E/01 | Entree binaire N 262E01, 8Xcontacts | Ing.bin. N262E/01,8-CH ing. potenzLibero | 348 | 405604404 | LB1
5WG1262-1EB11 | Binäreingabegerät N 262E/11 | Entree binaire N 262E11, 16Xcontacts | Ing.bin. N262E/11,16-CH ing.potenzLibero | 524 | 405604504 | LB1
5WG1263-1DB31 | Binäreingabegerät N 263D31,4xAC/DC10-230 | Entree binaire N 263D31, 4x AC/DC10-230V | Ing.bin. N263D31, 4-CH 10...230V AC/DC | 247 | 405590314 | LB1
5WG1263-1DB51 | Binäreingabegerät N 263D51,8xAC/DC10-230 | Entree binaire N 263D51, 8x AC/DC10-230V | Ing.bin. N263D51, 8-CH 10...230V AC/DC | 400 | 405590324 | LB1
5WG1263-1EB11 | Binäreingabegerät N 263E/11 | Entree binaire N 263E11, 16X12..230V | Ing. bin. N263E/11,16-CH 12...230V AC/DC | 524 | 405604304 | LB1
5WG1264-1EB11 | Binäreing.8 Eing.potfrei.AC/DC 12..230 V | App.d'entrée bin‚pot,8 entrées1230 V | App.d'entrée bin‚pot,8 entrées1230 V | 524 | 0 | LB1
5WG1286-2DB13 | Taster 2-fach UP286/3 TW, LED, Style | Poussoir 2f+LED UP 286/3 STYLE ,blanc | Puls. BTM UP286/3 2-CH+LED D.STY bianco | 132 | 0 | LB1
5WG1287-2DB13 | Taster 4-fach UP287/3 TW, LED, Style | Poussoir 4F+LED UP 287/3 STYLE ,blanc | Puls. BTM UP286/3 4-CH+LED D.STY bianco | 183 | 0 | LB1
5WG1290-7AB11 | Tür-/Fensterkontakt S 290, weiss | Contact de fenêtre/porte S 290, blanc | Contatto porta/finestraS 290, bianco | 23.9 | 0 | LB1
5WG1305-1AB01 | Szenen/Ereignisbaustein N305 | Bloc scenarios et evenements N 305 | Controllore N305 per scenari/eventi | 197 | 405680104 | LB1
5WG1425-7AB72 | IR Handsender S 425/72 | Emmeteur IR portable S425/72 16+1 F | Telecom. manuale IR S425/72 16+1 canali | 141 | 205740154 | LB1
5WG1501-1AB01 | Kombi-Jalousieaktor N 501 | Actionneur combi store N 501 8xE 4xS | Att. kombi N501 8-CH Input 12...230V | 536 | 405430204 | LB1
5WG1502-1AB02 | Kombi-Schaltaktor, 8fach N 502 | Actionneur combine N 502 8xE 8xS | Att. combinato N502/02 8in 12...230V | 660 | 0 | LB1
5WG1510-2AB03 | Binärausgabegerät UP 510/03, 2x10A, m.M | Appar.de sortie bin.UP 510/03, 2x10A,a.m | Usc.bin. UP 510/03, 2x10A, a.assembl. | 181 | 305605004 | LB1
5WG1510-2AB13 | Binärausgabegerät UP 510/13, 2x10A, o.M | Appar.de sortie bin.UP 510/13, 2x10A,s.m | Usc.bin. UP 510/13, 2x10A, s.assembl. | 167 | 305605014 | LB1
5WG1510-2AB23 | Binärausgabegerät RS 510/23, Relais2x10A | Unité sortie binaire RS 510/23, Rel.2x10A | Usc.bin. RS 510/23, Rel.2x10A | 137 | 405600024 | LB1
5WG1510-2KB23 | Thermoantriebaktor RS 510K23, 2x1,5A | Actionneur pourvannes RS 510K23, 2x1,5A | At.azion.Valvole elettr. 510K23,2x1,5A | 163 | 405710304 | LB1
5WG1511-2SB32 | Schaltaktor UP 511S32, 1 x 16 A | Sortie binaire UP 511S32, 1 x 16 A | Usc.bin. UP 511S32, 1 x 16 A | 156 | 405660064 | LB1
5WG1512-1AB11 | Schaltaktor N 512/11 M3X16A C-L | Sortie binaire N512/11 base 3X16A | Usc.bin. mod.master N512/11 3-CH 230V | 328 | 405661204 | LB1
5WG1512-1AB21 | Schaltaktor N 5121 S3X16A C-L | Sortie binaire N512/11 extens. 3X16A | Usc.bin. mod.espans. N5121 3-CH 230V | 167 | 405661304 | LB1
5WG1512-4AB23 | Schaltaktor RL 5123, (Relais) 1x 16A | Sortie binaire RL 5123, Relais 1x16A, | Usc.bin. RL 5123, (Relais) 1x 16A | 122 | 405600014 | LB1
5WG1513-1AB11 | Schaltaktor N562/11, M 3X 20A | Sortie binaire N562/11 base 3X20AX | U.bin. mod.master N562/11 3-CH 230/400V | 401 | 405660124 | LB1
5WG1513-1AB21 | Schaltaktor N5621, S 3X 20A | Sortie binaire N5621 extens. 3X20AX | U.bin. mod.espans. N5621 3-CH 230/400V | 199 | 405660224 | LB1
5WG1513-4DB23 | Binärausgabegerät RL 5133, Relais 3x6A | Unité sortie binaire RL 5133, Rel.3x6A | Usc.bin. RL 5133, Relais 3x6A | 158 | 405660024 | LB1
5WG1520-2AB03 | Jalusieaktor UP 520/03, 1x6A, m.mont. | Actionneur pour store UP520/03,1x6A, a.m | Att.tapp. UP 520/03, 1x6A, a.assembl. | 174 | 305435004 | LB1
5WG1520-2AB13 | Jalusieaktor UP 520/13, 1x6A, ohne.mont | Actionneur pour store UP520/13,1x6A s.m | Att.tapp. UP 520/13, 1x6A, senza assembl | 164 | 305435014 | LB1
5WG1520-2AB23 | Jalusieaktor RS 520/03, 1x 6A | Actionneur pour stores RS 520/03 1x 6A, | Att.tapp. RS 520/03, 1x 6A | 134 | 405430014 | LB1
5WG1521-4AB23 | Jalusieaktor RL 5213, 2x 6A | Actionneur pour store RL 5213 2x6A, | Att.tapp.RL 5213, 2x 6A | 197 | 405430024 | LB1
5WG1523-1AB03 | Rolloschalter N523/03, 4 Kanal | Actionneur pourvolet N523/03 4X | Att. tapp. N523/03 4-CH 230VAC/6A | 329 | 405432014 | LB1
5WG1524-1AB01 | Jalousieaktor N 524, 4 Kanal, DC6-24V,1A | Actionneur pour store N524/01 4X,DC6-24V | Att. Venez. contr.% N524/01 4-CH,DC6-24V | 481 | 0 | LB1
5WG1524-4DB23 | Sonnenschutzaktor RL524D23, 2x 24V/DC,6A | Actionneur p. store RL524D23,2x24V/DC,6A | Att.di prot.solare RL524D23,2x 24V/DC,6A | 160 | 405431024 | LB1
5WG1525-1DB11 | Schalt-/Dimmakt.N525D11 DALI-2, 2x20EVG | Interrupteur/Variateur N 525D11 2x20DALI | Att. dimmer N525D11 2-CH x 20 DALI | 298 | 405441314 | LB1
5WG1525-1EB01 | Schalt-/Dimmaktor N 525E DALI, 8 Kanal | Interrupteur/Variateur N 525E 8XDALI | Att. dimmer N525E 8-CH DALI | 588 | 405440314 | LB1
5WG1525-2AB03 | Universaldimmer UP 525/03, 1x250VA, m.M | Variateur universel UP525/03,1x250VA,a.m | Dimmer univers. UP 525/03, 1x250VA, a.a | 239 | 305445004 | LB1
5WG1525-2AB13 | Universaldimmer UP 525/13, 1x250VA, o.M | Variateur universel UP525/13,1x250VA,s.m | Dimmer univers. UP 525/03, 1x250VA, s.a | 229 | 305445014 | LB1
5WG1525-2AB23 | Universaldimmer RS 5253, 1x250VA | Variateur universel RS 5253 1x250VA | Dimmer univers. RS 5253, 1x250VA | 199 | 405440414 | LB1
5WG1525-2SB32 | Universaldimmer UP 525S32, 1-fach | Variateur universel UP 525S32, 1-fois | Dimmer universale UP 525S32, 1-canale | 247 | 405440064 | LB1
5WG1526-4DB23 | Schalt-/Dimmaktor RL5256,2xAC230V,1-10V | Inter.Variateur RL5256,2xAC230V,1-10V | Att. Dimmer RL5256,2xAC230V,1-10V | 270 | 0 | LB1
5WG1528-1DB01 | Universaldimmer N528D01 , 2x300VA | Variateur N528D01, 2x300VA | Dim. Univ. Module N528D01 2x300VA | 381 | 405440124 | LB1
5WG1530-1DB31 | Schaltaktor N530D31, 4x6AX C-Last, 230V | Sortie binaire N530D31, 4x6AX C, 230V | Uscita bin. N530D31, 4x6AX C, 230V | 259 | 405660034 | LB1
5WG1530-1DB51 | Schaltaktor N530D51, 8x6AX C-Last, 230V | Sortie binaire N530D51, 8x6AX C, 230V | Uscita bin. N530D51, 8x6AX C, 230V | 411 | 405660044 | LB1
5WG1530-1DB61 | Schaltaktor N530D61, 12x6AX C-Last, 230V | Sortie binaire N530D61, 12x6AX C, 230V | Uscita bin. N530D61, 12x6AX C, 230V | 483 | 405660054 | LB1
5WG1532-1DB31 | Schaltaktor N532D31, 4x10AX C-Last, 230V | Sortie binaire N532D31, 4x10AX C, 230V | Uscita bin. N532D31, 4x10AX C, 230V | 300 | 405660134 | LB1
5WG1532-1DB51 | Schaltaktor N532D51, 8x10AX C-Last, 230V | Sortie binaire N532D51, 8x10AX C, 230V | Uscita bin. N532D51, 8x10AX C, 230V | 442 | 405660144 | LB1
5WG1532-1DB61 | Schaltaktor N532D61, 12x10AX C-Last,230V | Sortie binaire N532D61, 12x10AX C,230V | Uscita bin. N532D61, 12x10AX C,230V | 540 | 405660154 | LB1
5WG1534-1DB31 | Schaltaktor N534D31, 4x16(20)AX C, 230V | Sortie binaire N534D31, 4x16(20)AXC,230V | Uscita bin. N534D31, 4x16(20)AX C, 230V | 351 | 405660234 | LB1
5WG1534-1DB51 | Schaltaktor N534D51, 8x16(20)AX C, 230V | Sortie binaire N534D51, 8x16(20)AXC,230V | Uscita bin. N534D51, 8x16(20)AX C, 230V | 486 | 405660244 | LB1
5WG1534-1DB61 | Schaltaktor N534D61, 12x16(20)AX C, 230V | Sortie binaire N534D61, 12x16(20)AXC,230 | Uscita bin. N534D61, 12x16(20)AX C, 230V | 588 | 405660254 | LB1
5WG1535-1DB31 | Schaltaktor N535D31,4x16(20)AXC,Lasterk. | Sortie bin.N535D31,4x16(20)AXC,d.charg | Uscita bin.N535D31,4x16(20)AX,ril.carico | 472 | 405662234 | LB1
5WG1535-1DB51 | Schaltaktor N535D51,8x16(20)AXC,Lasterk. | Sortie bin.N535D51,8x16(20)AXC,d.charg | Uscita bin.N535D51,8x16(20)AX,ril.carico | 611 | 405660344 | LB1
5WG1535-1DB61 | Schaltaktor N535D61,12x16(20)AXC,Last. | Sortie bin.N535D61,12x16(20)AXC,d.charg | Uscitabin.N535D61,12x16(20)AX,ril.carico | 776 | 405662254 | LB1
5WG1536-1DB31 | Schalt-/Dimmaktor N536D31,1-10V,4x10/16A | Inter.Variateur N536D31,1-10V,4x10AX/16A | Att. Dimmer N536D31,1-10V,4x10AX/16A | 513 | 405441214 | LB1
5WG1536-1DB51 | Schalt-/Dimmaktor N536D51,1-10V,8x10/16A | Inter.Variateur N536D51,1-10V,8x10AX/16A | Att. Dimmer N536D51,1-10V,8x10AX/16A | 869 | 405440374 | LB1
5WG1543-1DB31 | Sonnenschutzaktor N543D31, 4x 230V/AC,6A | Action. p. store N543D31, 4x 230V/AC,6A | Att. Venez. contr.N543D31, 4x 230V/AC,6A | 369 | 405662214 | LB1
5WG1543-1DB51 | Sonnenschutzaktor N543D51, 8x 230V/AC,6A | Action. p. store N543D51, 8x 230V/AC,6A | Att. Venez. contr.N543D51, 8x 230V/AC,6A | 653 | 405661254 | LB1
5WG1545-1DB31 | Sonnenschutzaktor N545D31, 4x 24V/DC,6A | Actionneur p.store N545D31, 4x 24V/DC,6A | Att.di prot.solare N545D31,4x 24V/DC,6A | 340 | 405663214 | LB1
5WG1554-1DB31 | Universaldimmer N554D31 , 4x300VA | Variateur N554D31, 4x300VA | Dim. Univ. Module N554D31 4x300VA | 654 | 405440504 | LB1
5WG1562-1AB11 | Schaltaktor N562/11, M 3x10AX | Sortie binaire N562/11 base, 3X10AX | U.bin. mod.master N562/11 3-CH 230/400V | 310 | 405660114 | LB1
5WG1562-1AB21 | Schaltaktor N562/21, S 3x10AX | Sortie binaire N5621 extens. 3X10AX | U.bin. mod.espans. N5621 3-CH 230/400V | 163 | 405660214 | LB1
5WG1562-2SB32 | Schalt-/Sonnenschutzaktor UP 562S32 | Actionneur store/Sortie binaire UP562S32 | Att.tapp./ Usc.bin. UP562S32 | 169 | 405430064 | LB1
5WG1562-7AB02 | Ventilstellantrieb AP 562/02 | Commande vanneAP 562/02 moteur ele. | Valve actuator SM 562/02 electromotive | 272 | 0 | LB1
5WG1567-1AB22 | Schaltaktor N567/22, 16x10A, 230V | Sortie binaire N5672 16 X 10A 230V | Usc.bin. N5672 16-CH 230VAC/10A | 631 | 405662204 | LB1
5WG1588-2AB13 | UP 588/13 Touch Panel, 230 V | Ecran tactile UP 588 couleur 230V | Touch panelcolor 5,6'' UP 588/13 230V | 1781 | 0 | LB1
5WG1588-8AB13 | Designrahmen Touchp. UP588 edelstahl | Cadre pour Touchpa. UP 588 Acier affine | Cornice per touch pan.UP588/3 acciaio | 109 | 0 | LB1
5WG1588-8AB14 | Designrahmen Touchp. UP588 glas schwarz | Cadre pour Touchpa. UP 588 verre noir | Cornice per touch pan. UP588/3vetro nero | 142 | 0 | LB1
5WG1588-8EB01 | Einbau-/Hohlwanddose für Touchp. UP 588 | Boîtier pour le montage UP 588 | Scatola incasso per touch panel UP588 | 75 | 305425414 | LB1
5WG1590-8AB01 | RL - Hutschienengehäuse M 590/01 | RL - Boîtier pour rail DIN M 590/01 | RL- Alloggiamento guida top-hat M 590/01 | 36 | 405991004 | LB2
5WG1592-8AB01 | Montagegehäuse M 592/01 | Box de mod. de gestion de sect. M 592/01 | Box modulo M 592/01 | 23.1 | 405991064 | LB1
5WG1605-1DB41 | Thermoantriebaktor N605D41, 6-fach | Actionneur pourvannes N605D41, 6-fois | At.azion.Valvole elettr. N605D41, 6-tubi | 298 | 405712164 | LB1
5WG1605-4DB23 | Thermoantriebaktor RL 605D23, 2-fach | Actionneur pourvannes RL 605D23, 2-fois | At.azion.Valvole elettr. RL605D23, 2tubi | 189 | 405710124 | LB1
5WG1641-3AB01 | Raumautomationsbox AP 641 für RS/RL mod. | Box de gestion de secteur AP 641 | Box modulo AP 641, | 240 | 205951504 | LB1
6BK1700-0BA20-0AA0 | Kommunikationsmodul KNX/LOGO!8 | Module de communication KNX/LOGO!8 | Module de communication KNX/LOGO!8 | 384 | 0 | LB1
ACS790 | Service-und Bediensoftware für Synco700 | Correspondant VAV logiciel | Abbinamento software VAV | Preis auf Anfrage | 0 | LA8
ADAPT60x60 | Adapter zu Abdeckrahmen 60x60 mm | Adapteur pour cadre 60x60 mm | Adattore da cornice 60x60mm | 2 | 0 | LB1
A-Gehäuse PCII-10 | Aufputz-Gehäuse PriCtr-II 10.1'', T=45mm | Boîtier surface PriCtr-II 10.1'', T=45mm | Alloggiam. per esterno PriCtr-II 10.1'', P=45mm | 432 | 0 | LA9
A-Gehäuse PCII-15 | Aufputz-Gehäuse PriCtr-II 15.6'', T=45mm | Boîtier surface PriCtr-II 15.6'', T=45mm | Alloggiam. per esterno PriCtr-II 15.6'',P=45mm | 486 | 0 | LA9
AL100 | Adapter ex SCS 3W/4W mit SSP.., STP.., | Adaptateur ex SCS 3W/4W pour SSP..,STP.. | Adattatore per SCS 3W.., 4W.. | 28.1 | 0 | LA7
AQR2570K32/AR52 | Raumfühler UP °C/AR52 KNX | Sonde d'ambiance UP °C/AR52 KNX | Sonda ambiente SM °C/AR52 KNX | 245 | 0 | LA6
AQR2570K32/CH | Raumfühler UP °C/CH KNX | Sonde d'ambiance UP °C/CH KNX | Sonda ambiente SM °C/CH KNX | 242 | 305300364 | LA6
AQR2570K35/AR52 | Raumfühler UP %rF/ °C/ AR52 KNX | Sonde d'ambiance UP %hr/ °C/ AR52 KNX | Sonda ambiente SM %rF/ °C/ AR52 KNX | 406 | 0 | LA6
AQR2570K35/CH | Raumfühler UP %rF/ °C/ CH KNX | Sonde d'ambiance UP %hr/ °C/ CH KNX | Sonda ambiente SM %rF/ °C/ CH KNX | 403 | 305300354 | LA6
AQR2576K30/AR52 | Raumfühler UP CO2/ AR52 KNX | Sonde d'ambiance UP CO2/ AR52 KNX | Sonda ambiente SM CO2/ AR52 KNX | 403 | 0 | LA6
AQR2576K30/CH | Raumfühler UP CO2/ CH KNX | Sonde d'ambiance UP CO2/ CH KNX | Sonda ambiente SM CO2/ CH KNX | 400 | 305300334 | LA6
AQR2576K32/AR52 | Raumfühler UP CO2/ °C/ AR52 KNX | Sonde d'ambiance UPCO2/ °C/ AR52 KNX | Sonda ambiente SMCO2/ °C/ AR52 KNX | 421 | 0 | LA6
AQR2576K32/CH | Raumfühler UP CO2/ °C/ CH KNX | Sonde d'ambiance UPCO2/ °C/ CH KNX | Sonda ambiente SMCO2/ °C/ CH KNX | 418 | 305300314 | LA6
AQR2576K35/AR52 | Raumfühler UP CO2/ %rF/ °C/ AR52 KNX | Sonde d'ambiance UP CO2/ %hr/°C/AR52 KNX | Sonda ambiente SM CO2/ %rF/ °C/ AR52 KNX | 582 | 0 | LA6
AQR2576K35/CH | Raumfühler UP CO2/ %rF/ °C/ CH KNX | Sonde d'ambiance UP CO2/ %hr/ °C/ CH KNX | Sonda ambiente SM CO2/ %rF/ °C/ CH KNX | 579 | 305300344 | LA6
AQR2576K35Q/AR52 | Raumfühler UP CO2/ %rF/ °C/ LED/AR52 KNX | Sonde d'amb UP CO2/ %hr/ °C/LED/AR52 KNX | Sonda amb. SM CO2/ %rF/ °C/ LED/AR52 KNX | 588 | 0 | LA6
AQR2576K35Q/CH | Raumfühler UP CO2/ %rF/ °C/ LED/ CH KNX | Sonde d'amb UP CO2/ %hr/ °C/ LED/ CH KNX | Sonda amb. SM CO2/ %rF/ °C/ LED/ CH KNX | 585 | 305300324 | LA6
AQR2576NF/CH | Raumfühler UP Basis CO2/CH KNX | Sonde encastrée CO2/CH KNX | Sonda ambiente SM base CO2/CH KNX | 372 | 0 | LA6
AR52 | Aufnahmering mit Befestigungsdist. 52mm | Anneau de fixation avec écart. de 52mm | Anello di montaggio con 52mm distanza | 13.7 | 0 | LA6
AV53 | Adapter Danfoss RA 2000 | Adaptateur pour vanne Danfoss RA 2000 | Adattatore per valvola Danfoss RA 2000 | 10.2 | 0 | LA7
AV54 | Adapter Danfoss RAVL | Adaptateur pour vanne Danfoss RAVL | Adattatore per valvola RAVL | 25.8 | 0 | LA7
AV55 | Adapter Danfoss RAV | Adaptateur pour vanne Danfoss RAV | Adattatore per valvola RAVL | 35.3 | 0 | LA7
AV56 | Adapter Giacomini | Adaptateur pour vanne Giacomini | Adattatore per valvola Giacomini | 24.7 | 0 | LA7
AV57 | Adapter Herz | Adaptateur pour vanne Herz | Addatatore per valvola Herz | 18.2 | 0 | LA7
AV58 | Adapter M30x1.5 auf Oventrop M30x1 | Adaptateur pour vanne Oventrop M30x1 | Adattatore per valvola Oventrop M30x1 | 25.4 | 0 | LA7
AV60 | Adapter TA | Adaptateur pour vanne TA | Adattatore per valvola TA | 16.2 | 0 | LA7
AV61 | Adapter Markaryd | Adaptateur pour vanne Markaryd | Adattatore per valvola Markaryd | 16.2 | 0 | LA7
Bef.-Kit PCII AU | Magnet-Bef.-Kit, PriCtr-II, 2-tlg. AP/UP | Kit-magnétique, PriCtr-II, 2-pièces Boîtier enc./appar. | Kit di magneti, PriControl-II, 2-pezzi per | 37 | 0 | LA9
CWG.L6-ADD1 | Upgrade IoT/ S auf M- Lizenz ConnectBox | Mise à niveau IoT / S vers M - licenceCB | Aggiornamento IoT / S a M - lizenza CB | 1076 | 0 | LC0
CWG.L6-ADD2 | Upgrade M auf L - Lizenz Connect Box | Mise à niveau M vers L - licence CB | Aggiornamento da M a L - lizenza CB | 979 | 0 | LC0
CWG.L6-ADD3 | Upgrade L auf XL - Lizenz Connect Box | Mise à niveau L vers XL - licence CB | Aggiornamento da L a XL - lizenza CB | 1402 | 0 | LC0
DC-Adapter für QCT-Touchpanels | DC QuickConnect Adapter QCT-Panel | DC QuickConnect Adapt. pour QCT-Panel | DC QuickConnect Adapter per QCT-Panel | 108 | 0 | LA9
GDB111.1E/KN | Luftklappen-Drehantr.,5Nm, AC24V, KNX S-Mod | Servomoteur rotatif,5Nm, AC24V, KNX | Attuatore rotativo,5Nm, AC24V, KNX | 264 | 305960054 | LA3
GDB111.9E/KN | Kugelhahn-Drehantr.,5Nm,AC24V,KNX S-Mod | Servomoteur rotatif,5Nm,AC24V,KNX S-Mode | Attuatore rotativo,5Nm,AC24V,KNX S-Mode | 275 | 0 | LA7
GLB111.1E/KN | Luftklappen-Drehantr.,10Nm,AC24V,KNX S-Mode | Servomoteur rotatif,10Nm, AC24V, KNX | Attuatore rotativo,10Nm, AC24V, KNX | 288 | 305960104 | LA3
GLB111.9E/KN | Kugelhahn-Drehantr.,10Nm,AC24V,KNX S-Mode | Servomoteur rotatif,10Nm, AC24V, KNX | Attuatore rotativo,10Nm, AC24V, KNX | 322 | 0 | LA7
MP1X1 | Montageplatte 1x1 | Plaque de montage 1x1 | Piatto di montaggio 1x1 | 3.5 | 0 | LA6
MP2X1 | Montageplatte 2x1 hoch | Plaque de montage 2x1 portrait | Piatto di montaggio 2x1 verticale | 3.8 | 0 | LA6
MP2X2 | Montageplatte 2x2 | Plaque de montage 2x2 | Piatto di montaggio 2x2 | 6.2 | 0 | LA6
MP3X1 | Montageplatte 3x1 hoch | Plaque de montage 3x1 portrait | Piatto di montaggio 3x1 verticale | 6.6 | 0 | LA6
MP3X2 | Montageplatte 3x2 hoch | Plaque de montage 3x2 portrait | Piatto di montaggio 3x2 verticale | 9.7 | 0 | LA6
OCI700.1 | Service- und Bedientool für KNX/LPB | Outil d'entretien pour KNX / LPB | Tool di servizio per KNX/ LPB | 893 | 0 | LA8
OCI702 | USB - KNX Serviceinterface | Interface de service pour USB / KNX | Interfaccia di servizio USB / KNX | 458 | 405830604 | LA8
OCT100.R | Thread-Mesh-Extender | Thread-Mesh-Extender | Thread-Mesh-Extender | 133 | 205590014 | LC0
OZW772.01 | Web Server für 1 KNX Gerät | Web Server pour 1 appareil KNX | Web Server per 1 apparecchi KNX | 497 | 405970104 | LA8
OZW772.04 | Web Server für 4 KNX Geräte | Web Server pour 4 appareils KNX | Web Server per 4 apparecchi KNX | 991 | 0 | LA8
OZW772.16 | Web Server für 16 KNX Geräte | Web Server pour 16 appareils KNX | Web Server per 16 apparecchi KNX | 1489 | 0 | LA8
OZW772.250 | Web Server für 250 KNX Geräte | Web Server pour 250 appareils KNX | Web Server per 250 apparecchi KNX | 1893 | 0 | LA8
PoE-Adapter für QCT-Touchpanels | PoE QuickConnect Adapter QCT-Panel | PoE QuickConnect Adapt. pour QCT-Panel | PoE QuickConnect Adapter per QCT-Panel | 108 | 0 | LA9
QAA2890/WI | Wireless room sensor (T) | Sonde d'ambiance sans fil (T) | Sensore ambiente wireless (T) | 123 | 205960014 | LC0
QCT-10-Android | 10.1'' QCT, QuickConnectTouchpaneI Android | 10.1'' QCT, QuickConnectTouchpaneI Android | 10.1'' QCT, QuickConnectTouchpaneI Android | 1331 | 0 | LA9
QCT-10-Win10 | 10.1" QCT, QuickConnectTouchpaneI Win10 | 10.1" QCT, QuickConnectTouchpaneI Win10 | 10.1" QCT, QuickConnectTouchpaneI Win10 | 1392 | 0 | LA9
QCT-7-Android | 7'' QCT, QuickConnectTouchpaneI Android | 7'' QCT, QuickConnectTouchpaneI Android | 7'' QCT, QuickConnectTouchpaneI Android | 1208 | 0 | LA9
QCT-7-Win10 | 7'' QCT, QuickConnectTouchpaneI Win10 | 7'' QCT, QuickConnectTouchpaneI Win10 | 7'' QCT, QuickConnectTouchpaneI Win10 | 1269 | 0 | LA9
QFA2890/WI | Wireless room sensor (T/rH) | Sonde d'ambiance sans fil (T/rH) | Sensore ambiente wireless (T/rH) | 133 | 205960024 | LC0
QMX3.MP1 | Montagplatte für QMX3.P.. | Plaque de montage pour QMX3.P .. | Piastra di montaggio per QMX3.P .. | 10 | 305990104 | LB1
QMX3.P02 | Raumbediengerät KNX, konfig.Touchkeys | Appareil d'ambiance KNX, touches config. | Unità di comando amb.,tasti touch config | 172 | 305293034 | LB1
QMX3.P02-1BSC | Raumbediengerät KNX, konfig.Touchkeys,sw | Appareil d'ambiance KNX, touches config. | Unità di comando amb.,tasti touch config | 172 | 305293134 | LB1
QMX3.P30 | Raumfühler KNX, Temperatur | Appareil d'amb. KNX,sonde de température | Sonda ambiente KNX, temp. Sensore | 112 | 305300383 | LB1
QMX3.P30-1BSC | Raumfühler KNX, Temperatur, schwarz | Appareil d'amb. KNX,sonde de température | Sonda ambiente KNX, temp. Sensore | 112 | 305300483 | LB1
QMX3.P34 | Raumbediengerät KNX,Display,Temp. | Appareil d'amb. KNX,sonde de température | Unità di comando ambiente KNX | 186 | 305291034 | LB1
QMX3.P34-1BSC | Raumbediengerät KNX,Display,Temp.,sw | Appareil d'amb. KNX,sonde de température | Unità di comando ambiente KNX | 186 | 305291134 | LB1
QMX3.P37 | Raumbediengerät KNX, Display, Touchkeys | Appareil d'amb., KNX, affichage, touches config. | Unità di comando amb.,KNX,display,tasti touch config. | 270 | 305292034 | LB1
QMX3.P37-1BSC | Raumbediengerät KNX, Display, Touchkeys | Appareil d'amb., KNX, affichage, touches config. | Unità di comando amb.,KNX,display,tasti touch config. | 270 | 305292134 | LB1
QMX3.P40 | Raumfühler KNX, Temp.,Feuchtigkeit | Appareil d'amb. KNX, son. temp.,humidité | Sonda ambiente KNX,temp.,umidità, | 136 | 305300393 | LB1
QMX3.P40-1BSC | Raumfühler KNX, Temp.,Feuchtigkeit, sw. | Appareil d'amb. KNX, son. temp.,humidité | Sonda ambiente KNX,temp.,umidità, | 136 | 305300493 | LB1
QMX3.P44 | Raumbediengerät KNX,Displ.,Temp.,Feuchte | Appareil d'amb. KNX,affichage, temp. et humidité | Unità di comando amb.,KNX, display, temp.e umidità | 297 | 305295034 | LB1
QMX3.P44-1BSC | Raumbediengerät KNX,Displ.,Temp.,Feuchte | Appareil d'amb. KNX,affichage, temp. et humidité | Unità di comando amb.,KNX, display, temp.e umidità | 297 | 305295134 | LB1
QMX3.P70 | Raumfühler KNX, Temp., Feuchtigkeit, CO2 | Appareil d'amb. KNX, temp.,humidité,CO2 | Sonda ambiente KNX,temp.,umidità,CO2 | 483 | 305300373 | LB1
QMX3.P70-1BSC | Raumfühler KNX, Temp., Feuchtigkeit, CO2 | Appareil d'amb. KNX, temp.,humidité,CO2 | Sonda ambiente KNX,temp.,umidità,CO2 | 483 | 305300473 | LB1
QMX3.P74 | Raumbediengerät KNX, Temp., Feuchte, CO2 | Appareil d'amb. KNX, temp.,humidité,CO2 | Unità di comando amb.,KNX, multi sensore | 579 | 305294034 | LB1
QMX3.P74-1BSC | Raumbediengerät KNX, Temp., Feuchte, CO2 | Appareil d'amb. KNX, temp.,humidité,CO2 | Unità di comando amb.,KNX, multi sensore | 579 | 305294134 | LB1
QPA2892/WI | Wireless room sensor (T/rH/CO2) | Sonde d'ambiance sans fil (T/rH/CO2) | Sensore ambiente wireless (T/rH/CO2) | 353 | 205960034 | LC0
RDF600KN | Raumthermostat mit Anzeige KNX | Thermostat d'ambiance avec affichage KNX | Termostato ambiente con display, KNX | 244 | 305410014 | LB2
RDF600KN/S | Raumthermostat mit KNX Komm., 4 Tasten | Thermostat d'ambiance KNX,quatre buttons | Termostato ambient. con KNX, quat tasti | 258 | 305410064 | LB2
RDF600KN/VB | Raumthermostat mit Anzeige KNX, schwarz | Thermost. d'ambi.avec affichage KNX,noir | Termostato ambiente con displ,nero | 234 | 0 | LB2
RDF800KN | Touch Raumthermostat KNX, 2-/4 Rohr,FCU | Ecr.tactil th.stat d'amb KNX, 2-/4 ,FCU | Regolatore amb touch KNX, 2-/4,FCU | 277 | 305410054 | LB2
RDF800KN/VB | Touch Raumthermostat KNX, 2-/4,FCU, SW | Ecr.tactil th.stat amb KNX, 2-/4,FCU,nr | Regolatore amb touch KNX, 2-/4,FCU, SW | 277 | 305410164 | LB2
RDF870KN | Touchscreen Raumthermostat PM2.5 KNX | Ecran tactil thermostat d'amb PM2.5 KNX | Regolatore amb touch screen PM2.5 KNX | 233 | 0 | LB2
RDG200KN | Raumthermostat KNX, AC 230/24V,°C,%r.F, | Therm. d'amb.KNX, AC 230/24V, °C, %r.F | Thermo.amb.KNX,AC230/24V,°C,%r.F | 296 | 0 | LB2
RDG200KN/BK | Raumthermostat KNX, AC230/24V,°C,%r.F,sw | Therm.d'amb.KNX,AC 230/24V,°C, %r.F,noir | Thermo.amb.KNX,AC230/24V,°C,%r.F,nero | 295 | 0 | LB2
RDG204KN | RaumthermostatKNX, AC230/24V,°C,%r.F,CO2 | Therm. d'amb.KNX,AC 230/24V,°C, %r.F,CO2 | Thermo.amb.KNX,AC230/24V,°C,%r.F,3-P,CO2 | 686 | 0 | LB2
RDG260KN | Raumthermostat KNX,AC 24V, °C,%r.F,0-10V | Therm. d'amb.KNX,AC 24V,°C,%r.F,DC 0-10V | Thermo.amb.KNX,AC 24V,°C,%r.F,DC0-10V | 296 | 0 | LB2
RDG260KN/BK | RaumthermostatKNX,AC24V,°C,%r.F,0-10V,sw | Th.d'amb.KNX,AC24V,°C,%r.F,DC0-10V,noir | Thermoamb.KNX,AC24V,°C,%r.F,DC0-10V,nero | 295 | 0 | LB2
RDG264KN | RaumthermostatKNX,AC24V,°C,%r.F,CO2,0-10 | Th.d'amb.KNX,AC 24V,°C,%r.F,DC 0-10V,CO2 | Thermo.amb.KNX,AC24V,°C,%r.F,DC0-10V,CO2 | 686 | 0 | LB2
SSA118.09HKN | Stellantrieb 100N, KNX TP, 20s/mm | Servomoteur 100N, KNX TP, 20s/mm | Attuatore el 100N, KNX TP, 20s/mm | 213 | 305710354 | LA7
STA26/00 | Therm. Stellantrieb AC230V,2P,NC,ohne | Servomoteur therm. AC230V,2P,NC,sans | Attuatore term. AC230V,2P,NC,senza | 20.3 | 0 | LA7
STA26/10 | Therm. Stellantrieb AC230V,2P,NC,1m | Servomoteur therm. AC230V,2P,NC,1m | Attuatore term. AC230V,2P,NC,1m | 24.6 | 0 | LA7
STA26/50 | Therm. Stellantrieb AC230V,2P,NC,5m | Servomoteur therm. AC230V,2P,NC,5m | Attuatore term. AC230V,2P,NC,5m | 31 | 0 | LA7
STA66/00 | Therm. Stellantrieb AC/DC24V,0-10V,NC,oK | Servomoteur therm. AC/DC24V,0-10V,NC,sC | Attuatore term. AC/DC24V,0-10V,NC,senza | 63.2 | 0 | LA7
STA66/10 | Therm. Stellantrieb AC/DC24V,0-10V,NC,1m | Servomoteur therm. AC/DC24V,0-10V,NC,1m | Attuatore term. AC/DC24V,0-10V,NC,1m | 69 | 0 | LA7
STA76/00 | Therm. Stellantrieb AC/DC24V,2P,NC,ohne | Servomoteur therm. AC/DC24V,2P,NC,sans | Attuatore term. AC/DC24V,2P,NC,senza | 20.3 | 0 | LA7
STA76/10 | Therm. Stellantrieb AC/DC24V,2P,NC,1m | Servomoteur therm. AC/DC24V,2P,NC,1m | Attuatore term. AC/DC24V,2P,NC,1m | 24.6 | 0 | LA7
STA76/20 | Therm. Stellantrieb AC/DC24V,2P,NC,2m | Servomoteur therm. AC/DC24V,2P,NC,2m | Attuatore term. AC/DC24V,2P,NC,2m | 26.8 | 0 | LA7
STP26/00 | Therm. Stellantrieb AC230V,2P,NO,ohne | Servomoteur therm. AC230V,2P,NO,sans | Attuatore term. AC230V,2P,NO,senza | 20.9 | 0 | LA7
STP26/10 | Therm. Stellantrieb AC230V,2P,NO,1m | Servomoteur therm. AC230V,2P,NO,1m | Attuatore term. AC230V,2P,NO,1m | 25.2 | 0 | LA7
STP26/20 | Therm. Stellantrieb AC230V,2P,NO,2m | Servomoteur therm. AC230V,2P,NO,2m | Attuatore term. AC230V,2P,NO,2m | 27.5 | 0 | LA7
STP66/00 | Therm. Stellantrieb AC/DC24V,0-10V,NO,oK | Servomoteur therm. AC/DC24V,0-10V,NO,sC | Attuatore term. AC/DC24V,0-10V,NO,oK | 63.8 | 0 | LA7
STP66/10 | Therm. Stellantrieb AC/DC24V,0-10V,NO,1m | Servomoteur therm. AC/DC24V,0-10V,NO,1m | Attuatore term. AC/DC24V,0-10V,NO,1m | 69.6 | 0 | LA7
STP76/00 | Therm. Stellantrieb AC/DC24V,2P,NO,ohne | Servomoteur therm. AC/DC24V,2P,NO,sans | Attuatore term. AC/DC24V,2P,NO,senza | 20.9 | 0 | LA7
STP76/10 | Therm. Stellantrieb AC/DC24V,2P,NO,1m | Servomoteur therm. AC/DC24V,2P,NO,1m | Attuatore term. AC/DC24V,2P,NO,1m | 25.2 | 0 | LA7
STP76/20 | Therm. Stellantrieb AC/DC24V,2P,NO,2m | Servomoteur therm. AC/DC24V,2P,NO,2m | Attuatore term. AC/DC24V,2P,NO,2m | 27.5 | 0 | LA7
U-Gehäuse PCII-10 | UP-Einbaudose PriCtr-II 10.1'', T=70mm | Boîtier encastré PriCtr-II 10.1'', T=70mm | Alloggiam. a incasso PriCtr-II 10.1'',P=70mm | 514 | 0 | LA9
U-Gehäuse PCII-15 | UP-Einbaudose PriCtr-II 15.6'', T=70mm | Boîtier encastré PriCtr-II 15.6'', T=70mm | Alloggiam. a incasso PriCtr-II 15.6'', P=70mm | 558 | 0 | LA9
VA04H | Adapter für Beulco, M30x1.0, vor 2005 | Adaptateur pour Beulco, M30x1.0, < 2005 | Adattatore per Beulco,M30x1.0,prima 2005 | 5.1 | 0 | LA7
VA26 | Adapter für Giacomini | Adaptateur pour Giacomini | Adattatore per Giacomini | 2.8 | 0 | LA7
VA59 | Adapter für Danfoss RAV/L | Adaptateur pour Danfoss RAV/L | Adattatore per Danfoss RAV/L | 3.8 | 0 | LA7
VA72 | Adapter für Danfoss RAV | Adaptateur pour Danfoss RAV | Adattatore per Danfoss RAV | 18.7 | 0 | LA7
VA78 | Adapter für Danfoss RA | Adaptateur pour Danfoss RA | Adattatore per Danfoss RA | 3.1 | 0 | LA7
VA80 | Adapter Standard M30x1.5 | Adaptateur Standard M30x1.5 | Adatt. Standard M30x1.5 | 1.2 | 0 | LA7