Power Management			
Status acquisition and measurements	
Status information, switching commands	
Circuit-breaker-protected switchgear			
Number of circuit-breakers			
Number of status information items per 
circuit-breaker			
Total number of switching commands
(for all circuit-breakers)			
Fuse-protected switchgear			
Number of switch-disconnectors			
Number of status information items per 
switch-disconnector			
Total number of status information items
(for all switch-disconnectors)			
Measurements			
Number of measuring points			
Number of current transformers required			

Measuring instruments			
Multi-function instruments 
(total / measured values per device)		 / 	
Electricity meters 
(total / measured values per meter)		 / 	
Motor management systems 
(total / measured values per device)		 / 	
Circuit-breakers 
(total / measured values per switch)		 / 	
Measurements of other energy types 
(number of measured values)		 / 	
Measurements			
Total number of measured values
(of all measuring instruments)		 / 	
Plant diagrams			
Number of overview diagrams			
Number of diagrams per energy type			
Total number of diagrams
(of all energy types)			
Energy import monitoring:			
Number of monitoring items for electricity			
Number of monitoring items for 
every other energy type			
Total number of import monitoring items
(of all energy types)			

With the completed list you have gained an overview of the project.
Do you need detailed information e.g. about concept development or budget estimation?
With the data contained in the checklist, contact your responsible TIP contact person:	
Totally Integrated Power supports electrical designers in different planning stages with software tools, Revit files for Building Information Modeling (BIM), tender specification texts, planning and application manuals and professional consulting by our experienced technical specialists in many countries: www.siemens.com/tip-cs

Get in touch with us: www.siemens.com/tip-cs/contact