Checklist for determining the power demand (in kW)	
	
Functional area/building area		NPS	SPS	ESPS	UPS	
Hallway / anteroom, lobby						
Staircase						
Equipment, general						
Foyer						
Access ways (e.g. tunnel)						
Recreation room / kitchenette						
Toilet areas						
Kitchen, cantina						
Office area						
Storage area						
Refrigeration room						
Sales room						
Exhibition area						
Delivery						
Outdoor area						
Production room						
Laboratory room						
Sick room						
Examination room						
Room for I&C and communications						
Building installations		NPS	SPS	ESPS	UPS	
Escalator						
Lift						
Sanitary systems						
Sprinklers						
Heating						
Air conditioning						
Cooling water system						
Refrigeration						
Embedded generation systems	
Photovoltaics						
Heat pump						
Combined heat and power unit						
Type of power supply system						
Other consumers	
Washing / purification						
Sprinklers 
(incl. secondary pipe heating in cold areas)						
Lifting systems for sewage water draining						
Safety lighting						
Lifts / escalators						
Fire alarm system						
Central control room for I&C and communications						
Public-address system						
Video monitoring / security system						
Other large equipment 
(tomographs (CT, MRT), pumps …)						

With the completed list you have gained an overview of the project.
Do you need detailed information e.g. about concept development or budget estimation?
With the data contained in the checklist, contact your responsible TIP contact person:	
Totally Integrated Power supports electrical designers in different planning stages with software tools, Revit files for Building Information Modeling (BIM), tender specification texts, planning and application manuals and professional consulting by our experienced technical specialists in many countries: www.siemens.com/tip-cs

Get in touch with us: www.siemens.com/tip-cs/contact