Planning check			
Planning documents
Drawings, space assignment and zoning plans, energy balance tables, technology descriptions, requirements derived e.g. from installation rules for cabling, factory regulations and similar	
Building regulations, provisions made by authorities	
Depending on the building use, for example:			
Installations for gathering of people  (IEC 60364-7-718)	
	
Medical locations (IEC 60364-7-710)	
	
Hazardous locations			
	
Areas for technical installations			
Can existing rooms be used?			
Requirements of the supply network operator  Technical supply conditions	
	
Arrangement of areas/rooms (rising ducts, fire areas)	

Examination of interrelations between individual technologies, for example:	
Joint use of rooms and building areas			
Cable routing			
Crossing lines			
	Cable			
	Busbar trunking systems			
	Sanitary pipes			
	Ventilation (air conditioning)			
Have fire areas been taken into account?			
	
Have all technologies for building automation and danger management been taken into account and given their correct priority (networked integrated planning)?	

With the completed list you have gained an overview of the project.
Do you need detailed information e.g. about concept development or budget estimation?
With the data contained in the checklist, contact your responsible TIP contact person:	
Totally Integrated Power supports electrical designers in different planning stages with software tools, Revit files for Building Information Modeling (BIM), tender specification texts, planning and application manuals and professional consulting by our experienced technical specialists in many countries: www.siemens.com/tip-cs
Get in touch with us: www.siemens.com/tip-cs/contact